## Slide 1
Monticello
Site Survey
June 8-9, 2022

## Slide 2: Monticello Site Survey - Summary
702 Points we can read – approximately 50% of Operator Rounds
  377 Gauges with Needles (use Wireless Gauge Reader to read)
    345 standard gauges, standard installation
    10 need to tape needle
    2 need to tape gauge background
    3 with loose or broken glass or hazy lens
    16 are high up – need Ops concurrence to install
    1 is close to pipe – check clearance more carefully
  40 Numeric Displays (use Wireless Digit Reader to read)
  131 Indicator Lights (use Indicator Light WTR to read)
  18 Thermometers (use WHTM as ambient thermometer)
  62 Thermocouples (use modified WTR to read)
  Estimated 80 Calculated Values (values calculated from instrument readings)

## Slide 3: Monticello Site Survey - Summary
Points we cannot read:
  Visual check of room/surrounding area
  Requires operator to push button/actuate/test
  Tubes
  Sight glasses
  Controller panels (e.g. air compressor control panel)

## Slide 4: Budgetary Quote
One Year Parts and Labor Warranty Included
Suggest to budget $140,000 per year annual maintenance starting year 2
NRE to install GBC application on Xcel Windows Server per Nick’s request.

## Slide 5: Background Details

## Slide 6: Monticello Site Survey - Summary
702 Points we can read – approximately 50% of Operator Rounds
  377 Gauges with Needles (use Wireless Gauge Reader to read)
    345 standard gauges, standard installation
    10 need to tape needle
    2 need to tape gauge background
    3 with loose or broken glass or hazy lens
    16 are high up – need Ops concurrence to install
    1 is close to pipe – check clearance more carefully
  40 Numeric Displays (use Wireless Digit Reader to read)
  131 Indicator Lights (use Indicator Light WTR to read)
  18 Thermometers (use WHTM as ambient thermometer)
  62 Thermocouples (use modified WTR to read)
  Estimated 80 Calculated Values (values calculated from instrument readings)

## Slide 7: Gauges with Needles - examples

## Slide 8: Gauges with Needles – Need to tape tail
Needle same width head and tail
Open glass, taped tail

## Slide 9: Gauges with Needles – High Location
Check with Ops to see if OK to cover gauge with WGR

## Slide 10: Monticello Site Survey - Summary
702 Points we can read – approximately 50% of Operator Rounds
  377 Gauges with Needles (use Wireless Gauge Reader to read)
    345 standard gauges, standard installation
    10 need to tape needle
    2 need to tape gauge background
    3 with loose or broken glass or hazy lens
    16 are high up – need Ops concurrence to install
    1 is close to pipe – check clearance more carefully
  40 Numeric Displays (use Wireless Digit Reader to read)
  131 Indicator Lights (use Indicator Light WTR to read)
  18 Thermometers (use WHTM as ambient thermometer)
  62 Thermocouples (use modified WTR to read)
  Estimated 80 Calculated Values (values calculated from instrument readings)

## Slide 11: Numeric Displays - examples

## Slide 12: Monticello Site Survey - Summary
702 Points we can read – approximately 50% of Operator Rounds
  377 Gauges with Needles (use Wireless Gauge Reader to read)
    345 standard gauges, standard installation
    10 need to tape needle
    2 need to tape gauge background
    3 with loose or broken glass or hazy lens
    16 are high up – need Ops concurrence to install
    1 is close to pipe – check clearance more carefully
  40 Numeric Displays (use Wireless Digit Reader to read)
  131 Indicator Lights (use Indicator Light WTR to read)
  18 Thermometers (use WHTM as ambient thermometer)
  62 Thermocouples (use modified WTR to read)
  Estimated 80 Calculated Values (values calculated from instrument readings)

## Slide 13: Indicator Lights - examples

## Slide 14: Monticello Site Survey - Summary
702 Points we can read – approximately 50% of Operator Rounds
  377 Gauges with Needles (use Wireless Gauge Reader to read)
    345 standard gauges, standard installation
    10 need to tape needle
    2 need to tape gauge background
    3 with loose or broken glass or hazy lens
    16 are high up – need Ops concurrence to install
    1 is close to pipe – check clearance more carefully
  40 Numeric Displays (use Wireless Digit Reader to read)
  131 Indicator Lights (use Indicator Light WTR to read)
  18 Thermometers (use WHTM as ambient thermometer)
  62 Thermocouples (use modified WTR to read)
  Estimated 80 Calculated Values (values calculated from instrument readings)

## Slide 15: Thermometers - examples

## Slide 16: Monticello Site Survey - Summary
702 Points we can read – approximately 50% of Operator Rounds
  377 Gauges with Needles (use Wireless Gauge Reader to read)
    345 standard gauges, standard installation
    10 need to tape needle
    2 need to tape gauge background
    3 with loose or broken glass or hazy lens
    16 are high up – need Ops concurrence to install
    1 is close to pipe – check clearance more carefully
  40 Numeric Displays (use Wireless Digit Reader to read)
  131 Indicator Lights (use Indicator Light WTR to read)
  18 Thermometers (use WHTM as ambient thermometer)
  62 Thermocouples (use modified WTR to read)
  Estimated 80 Calculated Values (values calculated from instrument readings)

## Slide 17: Thermocouples - examples

## Slide 18
Detail by Operator Round Sequence
and Instrument

## Slide 19
SITE WALK REPORT
Site: Monticello
Seq: 5
Tag: FIS-4619
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_135809.jpg

## Slide 20
SITE WALK REPORT
Site: Monticello
Seq: 6 & 7
Tag: D23
Type: Gauge
Count: 2
Possible: Yes
Comments:
Filename: 20220608_135842.jpg

## Slide 21
SITE WALK REPORT
Site: Monticello
Seq: 8 & 9
Tag: D24
Type: Gauge
Count: 2
Possible: Yes
Comments:
Filename: 20220608_135852.jpg

## Slide 22
SITE WALK REPORT
Site: Monticello
Seq: 5
Tag: FIS-4619
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_135900.jpg

## Slide 23
SITE WALK REPORT
Site: Monticello
Seq: 10
Tag: FZ-5065
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220608_135956.jpg

## Slide 24
SITE WALK REPORT
Site: Monticello
Seq: 12 & 13
Tag: D20
Type: Gauge
Count: 2
Possible: Yes
Comments:
Filename: 20220608_140148.jpg

## Slide 25
SITE WALK REPORT
Site: Monticello
Seq: 23
Tag:
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220608_140610.jpg

## Slide 26
SITE WALK REPORT
Site: Monticello
Seq: 28,29
Tag: D53
Type: Charger
Count: 2
Possible: Yes
Comments:
Filename: 20220608_140740.jpg

## Slide 27
SITE WALK REPORT
Site: Monticello
Seq: 30 & 31
Tag: D54
Type: Gauge
Count: 2
Possible: Yes
Comments:
Filename: 20220608_140746.jpg

## Slide 28
SITE WALK REPORT
Site: Monticello
Seq: 33
Tag: FIS-4618
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_140829.jpg

## Slide 29
SITE WALK REPORT
Site: Monticello
Seq: 32
Tag: D-102 GND DET RElAY
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_140858.jpg

## Slide 30
SITE WALK REPORT
Site: Monticello
Seq: 34
Tag: D-102
Type: Light
Count: 4
Possible: Yes
Comments:
Filename: 20220608_141020.jpg

## Slide 31
SITE WALK REPORT
Site: Monticello
Seq: 35 & 36
Tag: D13
Type: Gauge
Count: 2
Possible: Yes
Comments:
Filename: 20220608_141136.jpg

## Slide 32
SITE WALK REPORT
Site: Monticello
Seq: 37 & 38
Tag: D14
Type: Gauge
Count: 2
Possible: Yes
Comments:
Filename: 20220608_141149.jpg

## Slide 33
SITE WALK REPORT
Site: Monticello
Seq: 39
Tag:
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220608_141237.jpg

## Slide 34
SITE WALK REPORT
Site: Monticello
Seq: 41 & 42
Tag: D-10
Type: Gauge
Count: 2
Possible: Yes
Comments:
Filename: 20220608_141323.jpg

## Slide 35
SITE WALK REPORT
Site: Monticello
Seq: 46
Tag: FIS-4617
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_141337.jpg

## Slide 36
SITE WALK REPORT
Site: Monticello
Seq: 49
Tag: PI-4237
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_144536.jpg

## Slide 37
SITE WALK REPORT
Site: Monticello
Seq: 51
Tag: PI-4236
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_144626.jpg

## Slide 38
SITE WALK REPORT
Site: Monticello
Seq: 52
Tag: PI-4896
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_144631.jpg

## Slide 39
SITE WALK REPORT
Site: Monticello
Seq: 54
Tag: PI-4662
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_144828.jpg

## Slide 40
SITE WALK REPORT
Site: Monticello
Seq: 56
Tag: PI-4673
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_144833.jpg

## Slide 41
SITE WALK REPORT
Site: Monticello
Seq: 57
Tag: PI-4895
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_144837.jpg

## Slide 42
SITE WALK REPORT
Site: Monticello
Seq: 59
Tag: PI-4840
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_145000.jpg

## Slide 43
SITE WALK REPORT
Site: Monticello
Seq: 60
Tag: PI-4843
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_145004.jpg

## Slide 44
SITE WALK REPORT
Site: Monticello
Seq: 64
Tag: PI-1338
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_145109.jpg

## Slide 45
SITE WALK REPORT
Site: Monticello
Seq: 64
Tag: PI-1339
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_145111.jpg

## Slide 46
SITE WALK REPORT
Site: Monticello
Seq: 66
Tag: CT-5500
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_145154.jpg

## Slide 47
SITE WALK REPORT
Site: Monticello
Seq: 65
Tag: TIS-1760
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_145156.jpg

## Slide 48
SITE WALK REPORT
Site: Monticello
Seq: 74
Tag: Y93
Type: Light
Count: 4
Possible: Yes
Comments:
Filename: 20220608_145733.jpg

## Slide 49
SITE WALK REPORT
Site: Monticello
Seq: 76
Tag: TI-9331
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220608_145843.jpg

## Slide 50
SITE WALK REPORT
Site: Monticello
Seq: 75?
Tag: Reset
Type: Light
Count: 1
Possible: Yes
Comments:
Filename: 20220608_150026.jpg

## Slide 51
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag: Lockout Relay
Type: Light
Count: 1
Possible: Yes
Comments:
Filename: 20220608_150051.jpg

## Slide 52
SITE WALK REPORT
Site: Monticello
Seq: 78
Tag: C-321
Type: Light
Count: 24
Possible: Yes
Comments:
Filename: 20220608_150151.jpg

## Slide 53
SITE WALK REPORT
Site: Monticello
Seq:
Tag:
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_150523.jpg

## Slide 54
SITE WALK REPORT
Site: Monticello
Seq: 81
Tag:
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220608_150543.jpg

## Slide 55
SITE WALK REPORT
Site: Monticello
Seq: 82 & 83
Tag: BC A #13 DG Battery Charger A
Type: Gauge
Count: 2
Possible: Yes
Comments:
Filename: 20220608_150639.jpg

## Slide 56
SITE WALK REPORT
Site: Monticello
Seq: 84 & 85
Tag: BC B #13 DG Battery Charger B
Type: Gauge
Count: 2
Possible: Yes
Comments:
Filename: 20220608_150647.jpg

## Slide 57
SITE WALK REPORT
Site: Monticello
Seq: 86
Tag: PI-4614
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_150741.jpg

## Slide 58
SITE WALK REPORT
Site: Monticello
Seq: 94
Tag: PI-4313
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151339.jpg

## Slide 59
SITE WALK REPORT
Site: Monticello
Seq: 95
Tag: PI-4320
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151350.jpg

## Slide 60
SITE WALK REPORT
Site: Monticello
Seq: 96
Tag: LIS-1531
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151410.jpg

## Slide 61
SITE WALK REPORT
Site: Monticello
Seq: 97
Tag: PB-6051
Type: Light
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151443.jpg

## Slide 62
SITE WALK REPORT
Site: Monticello
Seq: 99
Tag: PI-7275
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151531.jpg

## Slide 63
SITE WALK REPORT
Site: Monticello
Seq: 100
Tag: TI-7293
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151600.jpg

## Slide 64
SITE WALK REPORT
Site: Monticello
Seq: 101
Tag: PI-4243 PMP DSCH
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151627.jpg

## Slide 65
SITE WALK REPORT
Site: Monticello
Seq: 103
Tag: TI-4335
Type: Gauge
Count: 1
Possible: No
Comments: High
Filename: 20220608_151725.jpg

## Slide 66
SITE WALK REPORT
Site: Monticello
Seq: 105
Tag: Main bank tank 4
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220608_151746.jpg

## Slide 67
SITE WALK REPORT
Site: Monticello
Seq: 106
Tag: PI-4469A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151801.jpg

## Slide 68
SITE WALK REPORT
Site: Monticello
Seq: 107
Tag: PI-4469B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151804.jpg

## Slide 69
SITE WALK REPORT
Site: Monticello
Seq: 108
Tag: PI-4469C
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151806.jpg

## Slide 70
SITE WALK REPORT
Site: Monticello
Seq: 109
Tag: PI-4469D
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151812.jpg

## Slide 71
SITE WALK REPORT
Site: Monticello
Seq: 110
Tag: PI-4470D
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151827.jpg

## Slide 72
SITE WALK REPORT
Site: Monticello
Seq: 111
Tag: PI-4470C
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151830.jpg

## Slide 73
SITE WALK REPORT
Site: Monticello
Seq: 112
Tag: PI-4470B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151833.jpg

## Slide 74
SITE WALK REPORT
Site: Monticello
Seq: 113
Tag: PI-4470A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151836.jpg

## Slide 75
SITE WALK REPORT
Site: Monticello
Seq: 116
Tag: DPIS-3496
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151950.jpg

## Slide 76
SITE WALK REPORT
Site: Monticello
Seq: 116
Tag: DPIS-3495
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151952.jpg

## Slide 77
SITE WALK REPORT
Site: Monticello
Seq: 116
Tag: DPIS-3494
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151956.jpg

## Slide 78
SITE WALK REPORT
Site: Monticello
Seq: 116
Tag: DPIS-3493
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_151958.jpg

## Slide 79
SITE WALK REPORT
Site: Monticello
Seq: 122
Tag: PI-7184
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_152030.jpg

## Slide 80
SITE WALK REPORT
Site: Monticello
Seq: 118
Tag: PI-7362
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_152243.jpg

## Slide 81
SITE WALK REPORT
Site: Monticello
Seq: 120 (?)
Tag:
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_152332.jpg

## Slide 82
SITE WALK REPORT
Site: Monticello
Seq: 123
Tag: PI-7185, PI-7186
Type: Gauge
Count: 2
Possible: Yes
Comments:
Filename: 20220608_152336.jpg

## Slide 83
SITE WALK REPORT
Site: Monticello
Seq: 126
Tag: F1-4113A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_152716.jpg

## Slide 84
SITE WALK REPORT
Site: Monticello
Seq: 125
Tag: DPI 4115A
Type: Gauge
Count: 1
Possible: Yes
Comments: Tape Needle
Filename: 20220608_152740.jpg

## Slide 85
SITE WALK REPORT
Site: Monticello
Seq: 127
Tag: TC-4117A
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_152752.jpg

## Slide 86
SITE WALK REPORT
Site: Monticello
Seq: 128
Tag: TC-4116A
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_152758.jpg

## Slide 87
SITE WALK REPORT
Site: Monticello
Seq: 132
Tag: PI-4762A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_152900.jpg

## Slide 88
SITE WALK REPORT
Site: Monticello
Seq: 133
Tag: PI-4763A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_152910.jpg

## Slide 89
SITE WALK REPORT
Site: Monticello
Seq: 134
Tag: DPI-1001A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_152913.jpg

## Slide 90
SITE WALK REPORT
Site: Monticello
Seq: 135
Tag: PI-4761A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_152916.jpg

## Slide 91
SITE WALK REPORT
Site: Monticello
Seq: 136
Tag: TI-1551
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_152928.jpg

## Slide 92
SITE WALK REPORT
Site: Monticello
Seq: 137
Tag: FIS-1731
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_152941.jpg

## Slide 93
SITE WALK REPORT
Site: Monticello
Seq: 138
Tag: TI-1552
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_152947.jpg

## Slide 94
SITE WALK REPORT
Site: Monticello
Seq: 139
Tag: TI-1550
Type: Gauge
Count: 1
Possible: Yes
Comments: High
Filename: 20220608_153136.jpg

## Slide 95
SITE WALK REPORT
Site: Monticello
Seq: 140
Tag: LC-4120
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153151.jpg

## Slide 96
SITE WALK REPORT
Site: Monticello
Seq: 141
Tag: LC-4121
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153153.jpg

## Slide 97
SITE WALK REPORT
Site: Monticello
Seq:
Tag:
Type: Light
Count: 4
Possible: Yes
Comments:
Filename: 20220608_153156.jpg

## Slide 98
SITE WALK REPORT
Site: Monticello
Seq: 142
Tag: C-298 (?)
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153207.jpg

## Slide 99
SITE WALK REPORT
Site: Monticello
Seq: 144
Tag: TI-1553
Type: Gauge
Count: 1
Possible: Yes
Comments: High
Filename: 20220608_153242.jpg

## Slide 100
SITE WALK REPORT
Site: Monticello
Seq: 145
Tag: TC-4117B
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153324.jpg

## Slide 101
SITE WALK REPORT
Site: Monticello
Seq: 146
Tag: TC-4116B
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153326.jpg

## Slide 102
SITE WALK REPORT
Site: Monticello
Seq: 147
Tag: F1-4113B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153341.jpg

## Slide 103
SITE WALK REPORT
Site: Monticello
Seq: 148
Tag: DPI-4115B
Type: Gauge
Count: 1
Possible: Yes
Comments: Tape Needle
Filename: 20220608_153345.jpg

## Slide 104
SITE WALK REPORT
Site: Monticello
Seq: 152
Tag: PI-4761B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153402.jpg

## Slide 105
SITE WALK REPORT
Site: Monticello
Seq: 151
Tag: PI-4765B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153430.jpg

## Slide 106
SITE WALK REPORT
Site: Monticello
Seq: 153
Tag: DPI-1001B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153438.jpg

## Slide 107
SITE WALK REPORT
Site: Monticello
Seq: 154
Tag: PI-4763B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153443.jpg

## Slide 108
SITE WALK REPORT
Site: Monticello
Seq: 155
Tag: PI-4762B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153448.jpg

## Slide 109
SITE WALK REPORT
Site: Monticello
Seq: 156
Tag: TI-1554
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153457.jpg

## Slide 110
SITE WALK REPORT
Site: Monticello
Seq: 157
Tag: FIS-1732
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153505.jpg

## Slide 111
SITE WALK REPORT
Site: Monticello
Seq: 158
Tag: TI-1555
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153513.jpg

## Slide 112
SITE WALK REPORT
Site: Monticello
Seq: 159
Tag: LIS-1508
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153537.jpg

## Slide 113
SITE WALK REPORT
Site: Monticello
Seq: 160
Tag: PI-7867
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153648.jpg

## Slide 114
SITE WALK REPORT
Site: Monticello
Seq: 161
Tag: TI-7917
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153708.jpg

## Slide 115
SITE WALK REPORT
Site: Monticello
Seq: 162
Tag: PI-7918
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153714.jpg

## Slide 116
SITE WALK REPORT
Site: Monticello
Seq: 163
Tag: PI 7868
Type: Gauge
Count: 1
Possible: Yes
Comments: Tape Needle
Filename: 20220608_153733.jpg

## Slide 117
SITE WALK REPORT
Site: Monticello
Seq: 164
Tag: PI-7869
Type: Gauge
Count: 1
Possible: Yes
Comments: Tape Needle
Filename: 20220608_153741.jpg

## Slide 118
SITE WALK REPORT
Site: Monticello
Seq: 165
Tag: PI-4147
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153829.jpg

## Slide 119
SITE WALK REPORT
Site: Monticello
Seq: 167
Tag: PI-4446
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153859.jpg

## Slide 120
SITE WALK REPORT
Site: Monticello
Seq: 168
Tag: FI-4445
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_153904.jpg

## Slide 121
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag: PI-1914
Type: Gauge
Count: 1
Possible: Yes
Comments: High
Filename: 20220608_154250.jpg

## Slide 122
SITE WALK REPORT
Site: Monticello
Seq: 11
Tag: TIS-4910
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220608_154528.jpg

## Slide 123
SITE WALK REPORT
Site: Monticello
Seq: 13
Tag: C-193 & C-195
Type: Light
Count: 6
Possible: Yes
Comments:
Filename: 20220608_154633.jpg

## Slide 124
SITE WALK REPORT
Site: Monticello
Seq: 24
Tag: PI-7141
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_154927.jpg

## Slide 125
SITE WALK REPORT
Site: Monticello
Seq: 25
Tag: PI-7140
Type: Gauge
Count: 1
Possible: Yes
Comments: Tape Needle
Filename: 20220608_154934.jpg

## Slide 126
SITE WALK REPORT
Site: Monticello
Seq: 26
Tag: PI-7139
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_154937.jpg

## Slide 127
SITE WALK REPORT
Site: Monticello
Seq: 29
Tag: TIS-7169
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_155038.jpg

## Slide 128
SITE WALK REPORT
Site: Monticello
Seq: 30
Tag: TIS-7170
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_155043.jpg

## Slide 129
SITE WALK REPORT
Site: Monticello
Seq: 31
Tag: FIS-7183
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_155050.jpg

## Slide 130
SITE WALK REPORT
Site: Monticello
Seq: 32
Tag: PI-7121
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_155059.jpg

## Slide 131
SITE WALK REPORT
Site: Monticello
Seq: 35
Tag: H2PI-7173
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_155118.jpg

## Slide 132
SITE WALK REPORT
Site: Monticello
Seq: 36
Tag: TIS-7171
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_155148.jpg

## Slide 133
SITE WALK REPORT
Site: Monticello
Seq: 37
Tag: MAI-7174
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_155208.jpg

## Slide 134
SITE WALK REPORT
Site: Monticello
Seq: 38
Tag: TIS-7172
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_155219.jpg

## Slide 135
SITE WALK REPORT
Site: Monticello
Seq: 39
Tag: PI-7143
Type: Gauge
Count: 1
Possible: Yes
Comments: Tape Needle
Filename: 20220608_155224.jpg

## Slide 136
SITE WALK REPORT
Site: Monticello
Seq: 41
Tag: DPI-7144
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_155245.jpg

## Slide 137
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag: PI-2579
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_155335.jpg

## Slide 138
SITE WALK REPORT
Site: Monticello
Seq: 46
Tag: PI-2580
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_155341.jpg

## Slide 139
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag: PI-2579
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_155442.jpg

## Slide 140
SITE WALK REPORT
Site: Monticello
Seq: 49
Tag: PI-1025B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_155503.jpg

## Slide 141
SITE WALK REPORT
Site: Monticello
Seq: 50
Tag: PI-1024B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_155506.jpg

## Slide 142
SITE WALK REPORT
Site: Monticello
Seq: 52
Tag: PI-1285
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_155606.jpg

## Slide 143
SITE WALK REPORT
Site: Monticello
Seq: 53
Tag: PI-1286
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_155609.jpg

## Slide 144
SITE WALK REPORT
Site: Monticello
Seq: 68
Tag: TIS-4911
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220608_160116.jpg

## Slide 145
SITE WALK REPORT
Site: Monticello
Seq: 71
Tag: IL-194-2, IL-194-4, IL-196-2, IL-196-4
Type: Light
Count: 5
Possible: Yes
Comments:
Filename: 20220608_160154.jpg

## Slide 146
SITE WALK REPORT
Site: Monticello
Seq: 71
Tag: IL-194 (3) IL-196 (3)
Type: Light
Count: 5
Possible: Yes
Comments:
Filename: 20220608_160204.jpg

## Slide 147
SITE WALK REPORT
Site: Monticello
Seq: 74
Tag:
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_160254.jpg

## Slide 148
SITE WALK REPORT
Site: Monticello
Seq: 75
Tag:
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220608_160402.jpg

## Slide 149
SITE WALK REPORT
Site: Monticello
Seq: 78
Tag: TI-1577
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_161158.jpg

## Slide 150
SITE WALK REPORT
Site: Monticello
Seq: 79
Tag: TI-1578
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_161208.jpg

## Slide 151
SITE WALK REPORT
Site: Monticello
Seq: 81
Tag: PI-7116
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_161350.jpg

## Slide 152
SITE WALK REPORT
Site: Monticello
Seq: 83
Tag: OI-7120
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_161458.jpg

## Slide 153
SITE WALK REPORT
Site: Monticello
Seq: 84
Tag: PI-7119
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_161506.jpg

## Slide 154
SITE WALK REPORT
Site: Monticello
Seq: 86
Tag: PI-7118
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_161529.jpg

## Slide 155
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag: Y-28
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_161551.jpg

## Slide 156
SITE WALK REPORT
Site: Monticello
Seq: 89
Tag: PI-7114
Type: Gauge
Count: 1
Possible: Yes
Comments: High
Filename: 20220608_161628.jpg

## Slide 157
SITE WALK REPORT
Site: Monticello
Seq: 91
Tag: Inlet Pressure Regulator
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_161653.jpg

## Slide 158
SITE WALK REPORT
Site: Monticello
Seq: 92
Tag: Outlet pressure regulator
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_161707.jpg

## Slide 159
SITE WALK REPORT
Site: Monticello
Seq: 97
Tag: TI-1591
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_161821.jpg

## Slide 160
SITE WALK REPORT
Site: Monticello
Seq: 99
Tag: TI-1584
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_161921.jpg

## Slide 161
SITE WALK REPORT
Site: Monticello
Seq: 99
Tag: TI-1581
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_161924.jpg

## Slide 162
SITE WALK REPORT
Site: Monticello
Seq: 99
Tag: TI-1582
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_161927.jpg

## Slide 163
SITE WALK REPORT
Site: Monticello
Seq: 99
Tag: 1583
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_161931.jpg

## Slide 164
SITE WALK REPORT
Site: Monticello
Seq: 100
Tag: PI-7938
Type: Gauge
Count: 1
Possible: Yes
Comments: High
Filename: 20220608_162013.jpg

## Slide 165
SITE WALK REPORT
Site: Monticello
Seq: 101
Tag: PI-7123
Type: Gauge
Count: 1
Possible: Yes
Comments: High
Filename: 20220608_162040.jpg

## Slide 166
SITE WALK REPORT
Site: Monticello
Seq: 101
Tag: PI-7124
Type: Gauge
Count: 1
Possible: Yes
Comments: High
Filename: 20220608_162043.jpg

## Slide 167
SITE WALK REPORT
Site: Monticello
Seq: 108
Tag: DPI-8012A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_162425.jpg

## Slide 168
SITE WALK REPORT
Site: Monticello
Seq: 109
Tag: DPI-8012B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_162505.jpg

## Slide 169
SITE WALK REPORT
Site: Monticello
Seq: 110
Tag: FS-8012
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_162534.jpg

## Slide 170
SITE WALK REPORT
Site: Monticello
Seq: 111
Tag: PI-4398
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_162632.jpg

## Slide 171
SITE WALK REPORT
Site: Monticello
Seq: 127
Tag: PI-1750
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_162759.jpg

## Slide 172
SITE WALK REPORT
Site: Monticello
Seq: 131
Tag: FI-7569B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_162900.jpg

## Slide 173
SITE WALK REPORT
Site: Monticello
Seq: 129
Tag: FI-7569A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_162914.jpg

## Slide 174
SITE WALK REPORT
Site: Monticello
Seq: 133
Tag: HWC O2 Bottle
Type: Gauge
Count: 3
Possible: Yes
Comments:
Filename: 20220608_162954.jpg

## Slide 175
SITE WALK REPORT
Site: Monticello
Seq: 134
Tag: H/V AR 2 Zones 1 – 5
H/V AR 3 Zones 1-5
Type: Light
Count: 10
Possible: Yes
Comments:
Filename: 20220608_163128.jpg

## Slide 176
SITE WALK REPORT
Site: Monticello
Seq: 219
Tag: PI-1972
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_165552.jpg

## Slide 177
SITE WALK REPORT
Site: Monticello
Seq: 220
Tag: PI-1973
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_165602.jpg

## Slide 178
SITE WALK REPORT
Site: Monticello
Seq: 222
Tag: PI-3187
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_165714.jpg

## Slide 179
SITE WALK REPORT
Site: Monticello
Seq: 223
Tag: PI-3186
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_165718.jpg

## Slide 180
SITE WALK REPORT
Site: Monticello
Seq: 224
Tag: DPIS-3192
Type: Gauge
Count: 1
Possible: Yes
Comments: Broken Gauge
Filename: 20220608_165734.jpg

## Slide 181
SITE WALK REPORT
Site: Monticello
Seq: 225
Tag: PI-7916
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_165757.jpg

## Slide 182
SITE WALK REPORT
Site: Monticello
Seq: 226
Tag: DPIS-1963
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_165811.jpg

## Slide 183
SITE WALK REPORT
Site: Monticello
Seq: 227
Tag: PI-7361A
Type: Gauge
Count: 1
Possible: Yes
Comments: High
Filename: 20220608_165829.jpg

## Slide 184
SITE WALK REPORT
Site: Monticello
Seq: 229
Tag: PI-3183
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_165913.jpg

## Slide 185
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag: DISP-1955-1
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_165924.jpg

## Slide 186
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag: DPIS-1966-1
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_165941.jpg

## Slide 187
SITE WALK REPORT
Site: Monticello
Seq:
Tag: PI-1843, PI-1845
Type: Gauge
Count: 2
Possible: Yes
Comments:
Filename: 20220608_170037.jpg

## Slide 188
SITE WALK REPORT
Site: Monticello
Seq: 231
Tag: PI-1955
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_170131.jpg

## Slide 189
SITE WALK REPORT
Site: Monticello
Seq: 232
Tag: PI-1957
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_170142.jpg

## Slide 190
SITE WALK REPORT
Site: Monticello
Seq: 233
Tag: PI-1956
Type: Gauge
Count: 1
Possible: Yes
Comments: Tape Needle
Filename: 20220608_170153.jpg

## Slide 191
SITE WALK REPORT
Site: Monticello
Seq: 235
Tag: PI-3177
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_170226.jpg

## Slide 192
SITE WALK REPORT
Site: Monticello
Seq: 236
Tag: PI-1964
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_170238.jpg

## Slide 193
SITE WALK REPORT
Site: Monticello
Seq: 239
Tag: PI-3176
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_170304.jpg

## Slide 194
SITE WALK REPORT
Site: Monticello
Seq: 240
Tag: PI-1982
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_170325.jpg

## Slide 195
SITE WALK REPORT
Site: Monticello
Seq: 242
Tag: P-104
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220608_170354.jpg

## Slide 196
SITE WALK REPORT
Site: Monticello
Seq: 245
Tag: PI-3182
Type: Gauge
Count: 1
Possible: No
Comments:
Filename: 20220608_170611.jpg

## Slide 197
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag: PI-1946 & PI-1944
Type: Gauge
Count: 2
Possible: Yes
Comments:
Filename: 20220608_170632.jpg

## Slide 198
SITE WALK REPORT
Site: Monticello
Seq: 246
Tag: C-101
Type: Light
Count: 14
Possible: Yes
Comments:
Filename: 20220608_170656.jpg

## Slide 199
SITE WALK REPORT
Site: Monticello
Seq: 249
Tag: LI-1852B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_170757.jpg

## Slide 200
SITE WALK REPORT
Site: Monticello
Seq: 250
Tag: LI-1853B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_170800.jpg

## Slide 201
SITE WALK REPORT
Site: Monticello
Seq: 251
Tag: PI-3046
Type: Gauge
Count: 1
Possible: Yes
Comments: High
Filename: 20220608_171026.jpg

## Slide 202
SITE WALK REPORT
Site: Monticello
Seq: 252
Tag: PI-7361B
Type: Gauge
Count: 1
Possible: Yes
Comments: High
Filename: 20220608_171110.jpg

## Slide 203
SITE WALK REPORT
Site: Monticello
Seq: 253
Tag: PI-3196
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_171212.jpg

## Slide 204
SITE WALK REPORT
Site: Monticello
Seq: 254
Tag: PI-1846
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_171235.jpg

## Slide 205
SITE WALK REPORT
Site: Monticello
Seq: 256
Tag: PI-3197
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_171306.jpg

## Slide 206
SITE WALK REPORT
Site: Monticello
Seq: 257
Tag: PI-1847
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_171316.jpg

## Slide 207
SITE WALK REPORT
Site: Monticello
Seq: 261
Tag: C-255
Type: Light
Count: 1
Possible: Yes
Comments:
Filename: 20220608_171421.jpg

## Slide 208
SITE WALK REPORT
Site: Monticello
Seq: 264
Tag: DPIS-1955-1
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_171726.jpg

## Slide 209
SITE WALK REPORT
Site: Monticello
Seq: 266 ?
Tag: DISP-1957, DISP-1958
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_171806.jpg

## Slide 210
SITE WALK REPORT
Site: Monticello
Seq: 270
Tag: DPIS-1955-2
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_172017.jpg

## Slide 211
SITE WALK REPORT
Site: Monticello
Seq: 272
Tag: DISP-1955-4
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_172046.jpg

## Slide 212
SITE WALK REPORT
Site: Monticello
Seq: 275
Tag: DLS-2112
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_172128.jpg

## Slide 213
SITE WALK REPORT
Site: Monticello
Seq: 276
Tag: DLS-2115
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_172133.jpg

## Slide 214
SITE WALK REPORT
Site: Monticello
Seq: 277
Tag: DLS-2114
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_172136.jpg

## Slide 215
SITE WALK REPORT
Site: Monticello
Seq: 278
Tag: Air supply regulator
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220608_172140.jpg

## Slide 216
SITE WALK REPORT
Site: Monticello
Seq: 4 & 11
Tag: FQ-2543 & FQ-2544
Type: Gauge
Count: 2
Possible: Yes
Comments:
Filename: 20220609_063239.jpg

## Slide 217
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag: P-75A & P-57B
Type: Digit
Count: 2
Possible: Yes
Comments:
Filename: 20220609_063550.jpg

## Slide 218
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag: DPI-2602
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_064138.jpg

## Slide 219
SITE WALK REPORT
Site: Monticello
Seq: 83
Tag: DPI-4704
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_064455.jpg

## Slide 220
SITE WALK REPORT
Site: Monticello
Seq: 84
Tag: DPI-4705
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_064458.jpg

## Slide 221
SITE WALK REPORT
Site: Monticello
Seq: 85
Tag: DPI-4706
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_064503.jpg

## Slide 222
SITE WALK REPORT
Site: Monticello
Seq: 86
Tag: DPI-4707
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_064516.jpg

## Slide 223
SITE WALK REPORT
Site: Monticello
Seq: 87
Tag: DPI-4708
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_064519.jpg

## Slide 224
SITE WALK REPORT
Site: Monticello
Seq: 88
Tag: DPI-4709
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_064523.jpg

## Slide 225
SITE WALK REPORT
Site: Monticello
Seq: 89
Tag: DPI-7995
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_064600.jpg

## Slide 226
SITE WALK REPORT
Site: Monticello
Seq:
Tag:
Type: Gauge
Count: 4
Possible: No
Comments:
Filename: 20220609_065129.jpg

## Slide 227
SITE WALK REPORT
Site: Monticello
Seq: 25
Tag: DPS-9299
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_065547.jpg

## Slide 228
SITE WALK REPORT
Site: Monticello
Seq: 26
Tag: TI 2967
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_065658.jpg

## Slide 229
SITE WALK REPORT
Site: Monticello
Seq: 27
Tag: TI-2966
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_065751.jpg

## Slide 230
SITE WALK REPORT
Site: Monticello
Seq: 28
Tag: TI-8072C
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220609_065829.jpg

## Slide 231
SITE WALK REPORT
Site: Monticello
Seq: 31
Tag: PI-7351
Type: Gauge
Count: 1
Possible: Yes
Comments: High
Filename: 20220609_065939.jpg

## Slide 232
SITE WALK REPORT
Site: Monticello
Seq: 30
Tag: TI-1563
Type: Gauge
Count: 1
Possible: Yes
Comments: High
Filename: 20220609_065944.jpg

## Slide 233
SITE WALK REPORT
Site: Monticello
Seq: 32
Tag: TI-1566
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_070020.jpg

## Slide 234
SITE WALK REPORT
Site: Monticello
Seq: 33
Tag: TI-1407
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_070031.jpg

## Slide 235
SITE WALK REPORT
Site: Monticello
Seq: 34
Tag: TI-1565
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_070103.jpg

## Slide 236
SITE WALK REPORT
Site: Monticello
Seq: 35
Tag: TI-1406
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_070110.jpg

## Slide 237
SITE WALK REPORT
Site: Monticello
Seq: 36
Tag: TI-1564
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_070128.jpg

## Slide 238
SITE WALK REPORT
Site: Monticello
Seq: 36
Tag: TI-1564
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_070129.jpg

## Slide 239
SITE WALK REPORT
Site: Monticello
Seq: 37
Tag: TI-1405
Type: Gauge
Count: 1
Possible: Yes
Comments: High
Filename: 20220609_070140.jpg

## Slide 240
SITE WALK REPORT
Site: Monticello
Seq: 38
Tag: DPI-7940
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_070210.jpg

## Slide 241
SITE WALK REPORT
Site: Monticello
Seq: 39
Tag: DPI-7941
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_070212.jpg

## Slide 242
SITE WALK REPORT
Site: Monticello
Seq: 40
Tag: DPI-7942
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_070214.jpg

## Slide 243
SITE WALK REPORT
Site: Monticello
Seq: 43, 44, 47, 49, 50
Tag: DISP-2827, DISP-2828,
PI-1396,PI-1397,PI-1700?
Type: Gauge
Count: 5
Possible: Yes
Comments:
Filename: 20220609_070327.jpg

## Slide 244
SITE WALK REPORT
Site: Monticello
Seq: 46
Tag: FI-4145
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_070435.jpg

## Slide 245
SITE WALK REPORT
Site: Monticello
Seq: 51,56-59
Tag: TI-1400, PI-9346, PI-12-114,
PI-12-87, PI-12-96
Type: Gauge
Count: 5
Possible: Yes
Comments:
Filename: 20220609_070505.jpg

## Slide 246
SITE WALK REPORT
Site: Monticello
Seq: 61-63
Tag: C-571
Type: Digit
Count: 3
Possible: Yes
Comments:
Filename: 20220609_070505.jpg

## Slide 247
SITE WALK REPORT
Site: Monticello
Seq: 64
Tag: PI-7325
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_070901.jpg

## Slide 248
SITE WALK REPORT
Site: Monticello
Seq: 65
Tag: PI-7324
Type: Gauge
Count: 1
Possible: Yes
Comments: High
Filename: 20220609_070918.jpg

## Slide 249
SITE WALK REPORT
Site: Monticello
Seq: 69
Tag: FI-4814A
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220609_071005.jpg

## Slide 250
SITE WALK REPORT
Site: Monticello
Seq: 67
Tag: FI-4813A
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220609_071019.jpg

## Slide 251
SITE WALK REPORT
Site: Monticello
Seq: 70
Tag: FI-4814B
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220609_071024.jpg

## Slide 252
SITE WALK REPORT
Site: Monticello
Seq: 71
Tag: FI-4813B
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220609_071029.jpg

## Slide 253
SITE WALK REPORT
Site: Monticello
Seq: 70
Tag: FI-4814B
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220609_071036.jpg

## Slide 254
SITE WALK REPORT
Site: Monticello
Seq: 72
Tag: AMS-4
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220609_071157.jpg

## Slide 255
SITE WALK REPORT
Site: Monticello
Seq: 74
Tag: TI-7044
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_071326.jpg

## Slide 256
SITE WALK REPORT
Site: Monticello
Seq: 75
Tag: TI-7045
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_071335.jpg

## Slide 257
SITE WALK REPORT
Site: Monticello
Seq: 77
Tag: PI-7046
Type: Gauge
Count: 1
Possible: Yes
Comments: Tape Background
Filename: 20220609_071400.jpg

## Slide 258
SITE WALK REPORT
Site: Monticello
Seq: 78
Tag: TI-7040, TI-7041, TI-7042, TI-7043
Type: Gauge
Count: 4
Possible: Yes
Comments:
Filename: 20220609_071418.jpg

## Slide 259
SITE WALK REPORT
Site: Monticello
Seq: 80
Tag: PI-7048
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_071458.jpg

## Slide 260
SITE WALK REPORT
Site: Monticello
Seq: 82
Tag: Filter Differential Pressure
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_071645.jpg

## Slide 261
SITE WALK REPORT
Site: Monticello
Seq: 88
Tag: TI-7035
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_071838.jpg

## Slide 262
SITE WALK REPORT
Site: Monticello
Seq: 85
Tag: TI-7037
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_071844.jpg

## Slide 263
SITE WALK REPORT
Site: Monticello
Seq: 87
Tag: PI-7038
Type: Gauge
Count: 1
Possible: Yes
Comments: Tape background
Filename: 20220609_071909.jpg

## Slide 264
SITE WALK REPORT
Site: Monticello
Seq: 88
Tag: TI-7032, TI-7033, TI-7034, TI-7035
Type: Gauge
Count: 4
Possible: Yes
Comments:
Filename: 20220609_071914.jpg

## Slide 265
SITE WALK REPORT
Site: Monticello
Seq: 89
Tag: PI-7037
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_071942.jpg

## Slide 266
SITE WALK REPORT
Site: Monticello
Seq: 94
Tag: RPS-MG AMPS
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_101634.jpg

## Slide 267
SITE WALK REPORT
Site: Monticello
Seq: 95
Tag: # 11 RPS-MG VOLTS
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_101638.jpg

## Slide 268
SITE WALK REPORT
Site: Monticello
Seq: 98
Tag: #12 RPS-MG AMPS ?
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_101801.jpg

## Slide 269
SITE WALK REPORT
Site: Monticello
Seq: 99
Tag: #12 RPS-MG VOLTS ?
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_101805.jpg

## Slide 270
SITE WALK REPORT
Site: Monticello
Seq: 100
Tag: EPA-153,EPA-154,EPA-156,EPA-175
Type: Light
Count: 8
Possible: Yes
Comments:
Filename: 20220609_101840.jpg

## Slide 271
SITE WALK REPORT
Site: Monticello
Seq: 102
Tag: DPIS-2573
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_102116.jpg

## Slide 272
SITE WALK REPORT
Site: Monticello
Seq: 103
Tag: DPIS-2572
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_102131.jpg

## Slide 273
SITE WALK REPORT
Site: Monticello
Seq: 105
Tag: PI-7192
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_102218.jpg

## Slide 274
SITE WALK REPORT
Site: Monticello
Seq: 106,107
Tag: PI-10-115A, PI-10-116
Type: Gauge
Count: 2
Possible: Yes
Comments: No Pic
Filename: 20220609_102419.jpg

## Slide 275
SITE WALK REPORT
Site: Monticello
Seq: 111
Tag: TI-7993
Type: Gauge
Count: 1
Possible: Yes
Comments: Close to pipe
Filename: 20220609_102419.jpg

## Slide 276
SITE WALK REPORT
Site: Monticello
Seq: 112
Tag: PI-7193
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_102515.jpg

## Slide 277
SITE WALK REPORT
Site: Monticello
Seq: 114
Tag: PI-10-115B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_102618.jpg

## Slide 278
SITE WALK REPORT
Site: Monticello
Seq:
Tag: CST-201-1
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_102825.jpg

## Slide 279
SITE WALK REPORT
Site: Monticello
Seq: 118
Tag: PI-1369
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_102839.jpg

## Slide 280
SITE WALK REPORT
Site: Monticello
Seq: 117
Tag: PI-1368
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_102931.jpg

## Slide 281
SITE WALK REPORT
Site: Monticello
Seq: 119
Tag: PI-1374
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_102950.jpg

## Slide 282
SITE WALK REPORT
Site: Monticello
Seq: 123
Tag: TI-4366
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_103104.jpg

## Slide 283
SITE WALK REPORT
Site: Monticello
Seq: 124
Tag: PI-3450B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_103122.jpg

## Slide 284
SITE WALK REPORT
Site: Monticello
Seq: 125
Tag: C-29 GREEN
Type: Light
Count: 1
Possible: Yes
Comments:
Filename: 20220609_103154.jpg

## Slide 285
SITE WALK REPORT
Site: Monticello
Seq: 126
Tag: PI-7394
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_103205.jpg

## Slide 286
SITE WALK REPORT
Site: Monticello
Seq: 130
Tag: V-AC-10B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_103338.jpg

## Slide 287
SITE WALK REPORT
Site: Monticello
Seq: 129
Tag: V-AC-10A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_103342.jpg

## Slide 288
SITE WALK REPORT
Site: Monticello
Seq:
Tag:
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_103408.jpg

## Slide 289
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag:
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_103413.jpg

## Slide 290
SITE WALK REPORT
Site: Monticello
Seq: 133
Tag: PI-3085
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_103421.jpg

## Slide 291
SITE WALK REPORT
Site: Monticello
Seq: 132
Tag: PI-3084
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_103425.jpg

## Slide 292
SITE WALK REPORT
Site: Monticello
Seq: 134
Tag: DPI-2-1A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_103543.jpg

## Slide 293
SITE WALK REPORT
Site: Monticello
Seq: 135
Tag: DPI-2-1B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_103547.jpg

## Slide 294
SITE WALK REPORT
Site: Monticello
Seq: 136
Tag: DPIS-3-202
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_103557.jpg

## Slide 295
SITE WALK REPORT
Site: Monticello
Seq: 142
Tag: FI-4909
Type: Gauge
Count: 1
Possible: Yes
Comments: High
Filename: 20220609_103955.jpg

## Slide 296
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag:
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_104043.jpg

## Slide 297
SITE WALK REPORT
Site: Monticello
Seq: 143
Tag: PI-3-223
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_104155.jpg

## Slide 298
SITE WALK REPORT
Site: Monticello
Seq: 144
Tag: PI-4375A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_104206.jpg

## Slide 299
SITE WALK REPORT
Site: Monticello
Seq: 146
Tag: PI-3-236A
Type: Gauge
Count: 1
Possible: Yes
Comments: Tape Needle
Filename: 20220609_104239.jpg

## Slide 300
SITE WALK REPORT
Site: Monticello
Seq: 147
Tag: PI-3-236B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_104242.jpg

## Slide 301
SITE WALK REPORT
Site: Monticello
Seq: 145
Tag: PI-4375B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_104247.jpg

## Slide 302
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag:
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_104257.jpg

## Slide 303
SITE WALK REPORT
Site: Monticello
Seq: 143
Tag: PI-3-223
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_104303.jpg

## Slide 304
SITE WALK REPORT
Site: Monticello
Seq: 154
Tag: DPIS-7399
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_104334.jpg

## Slide 305
SITE WALK REPORT
Site: Monticello
Seq: 154
Tag: DPIS-7399
Type: Gauge
Count: 2
Possible: Yes
Comments:
Filename: 20220609_104339.jpg

## Slide 306
SITE WALK REPORT
Site: Monticello
Seq: 159
Tag: FI-6173A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_104536.jpg

## Slide 307
SITE WALK REPORT
Site: Monticello
Seq: 164
Tag: PI-4953
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_104631.jpg

## Slide 308
SITE WALK REPORT
Site: Monticello
Seq: 29
Tag: TIC-11-48
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220609_105402.jpg

## Slide 309
SITE WALK REPORT
Site: Monticello
Seq: 30
Tag: TI-4603
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220609_105408.jpg

## Slide 310
SITE WALK REPORT
Site: Monticello
Seq: 31,32,33,34
Tag: DPIS-2-116A,DPIS-2-116B,
DPIS-2-116C, DPIS-2-116D
Type: Gauge
Count: 4
Possible: Yes
Comments:
Filename: 20220609_105710.jpg

## Slide 311
SITE WALK REPORT
Site: Monticello
Seq: 36,37,38,39
Tag: DPIS-2-111A, DPIS-2-117B,
DPIS-2-117C, DPIS-2-117D
Type: Gauge
Count: 4
Possible: Yes
Comments:
Filename: 20220609_105717.jpg

## Slide 312
SITE WALK REPORT
Site: Monticello
Seq: 41,42,43,44
Tag: DPIS-2-118A, DPIS-2-118B,
DPIS-2-118C, DPIS-2-118D
Type: Gauge
Count: 4
Possible: Yes
Comments:
Filename: 20220609_105722.jpg

## Slide 313
SITE WALK REPORT
Site: Monticello
Seq: 46,47,48,49
Tag: DPIS-2-119A, DPIS-2-119B,
DPIS-2-119C, DPIS-2-119D
Type: Gauge
Count: 4
Possible: Yes
Comments:
Filename: 20220609_105738.jpg

## Slide 314
SITE WALK REPORT
Site: Monticello
Seq: 68
Tag: DPIS-14-43A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_110036.jpg

## Slide 315
SITE WALK REPORT
Site: Monticello
Seq: 69
Tag: DPIS-14-43B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_110044.jpg

## Slide 316
SITE WALK REPORT
Site: Monticello
Seq: 68
Tag: DPIS-14-42A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_110057.jpg

## Slide 317
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag: TE-7990
Type: Thermocouple
Count: 40
Possible: Yes
Comments: WTR+
Filename: 20220609_110454.jpg

## Slide 318
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag: TE-7991
Type: Thermocouple
Count: 22
Possible: Yes
Comments: WTR+
Filename: 20220609_110638.jpg

## Slide 319
SITE WALK REPORT
Site: Monticello
Seq: 3
Tag: S-UPS
Type: Light
Count: 1
Possible: Yes
Comments:
Filename: 20220609_132231.jpg

## Slide 320
SITE WALK REPORT
Site: Monticello
Seq:
Tag:
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220609_132603.jpg

## Slide 321
SITE WALK REPORT
Site: Monticello
Seq: 8
Tag: Water Temperature
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_132626.jpg

## Slide 322
SITE WALK REPORT
Site: Monticello
Seq: 13
Tag: N2 Storage Tank Level 0277297
Type: Gauge
Count: 1
Possible: Yes
Comments: Hazy Lens
Filename: 20220609_132946.jpg

## Slide 323
SITE WALK REPORT
Site: Monticello
Seq: 13
Tag: 0277297
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_132948.jpg

## Slide 324
SITE WALK REPORT
Site: Monticello
Seq: 14
Tag: PI-6155A, PI-6155B
Type: Gauge
Count: 2
Possible: Yes
Comments:
Filename: 20220609_133113.jpg

## Slide 325
SITE WALK REPORT
Site: Monticello
Seq: 15
Tag: Generator Hydrogen Room Temperature
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220609_133137.jpg

## Slide 326
SITE WALK REPORT
Site: Monticello
Seq: 24
Tag: TIS-1621
Type: Light
Count: 2
Possible: Yes
Comments:
Filename: 20220609_133232.jpg

## Slide 327
SITE WALK REPORT
Site: Monticello
Seq: 25,26
Tag: 1AR Transformer winding and Liquid Temperature
Type: Gauge
Count: 2
Possible: Yes
Comments:
Filename: 20220609_133422.jpg

## Slide 328
SITE WALK REPORT
Site: Monticello
Seq: 27
Tag: Transformer Liquid Level
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_133534.jpg

## Slide 329
SITE WALK REPORT
Site: Monticello
Seq: 32
Tag: OTB MSIV Air House Room Temperature
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220609_133726.jpg

## Slide 330
SITE WALK REPORT
Site: Monticello
Seq: 35
Tag: PCV-4916B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_133746.jpg

## Slide 331
SITE WALK REPORT
Site: Monticello
Seq: 34
Tag: PCV-4916A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_133751.jpg

## Slide 332
SITE WALK REPORT
Site: Monticello
Seq: 36
Tag: PI-4917A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_133817.jpg

## Slide 333
SITE WALK REPORT
Site: Monticello
Seq: 37
Tag: PI-4917B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_133825.jpg

## Slide 334
SITE WALK REPORT
Site: Monticello
Seq: 38
Tag: PI-4918
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_133835.jpg

## Slide 335
SITE WALK REPORT
Site: Monticello
Seq: 40
Tag: X01/Gas-Monitor
Type: Light
Count: 3
Possible: Yes
Comments:
Filename: 20220609_134158.jpg

## Slide 336
SITE WALK REPORT
Site: Monticello
Seq: 43
Tag: X01/WTI-49
Type: Gauge
Count: 1
Possible: Yes
Comments: Qualitrol
Filename: 20220609_134236.jpg

## Slide 337
SITE WALK REPORT
Site: Monticello
Seq: 42
Tag: X01/LTI-26
Type: Gauge
Count: 1
Possible: Yes
Comments: Qualitrol
Filename: 20220609_134238.jpg

## Slide 338
SITE WALK REPORT
Site: Monticello
Seq: 44
Tag: Main Transformer Liquid Level
Type: Gauge
Count: 1
Possible: Yes
Comments: High
Filename: 20220609_134332.jpg

## Slide 339
SITE WALK REPORT
Site: Monticello
Seq: 46
Tag: C-192
Type: Light
Count: 4
Possible: Yes
Comments:
Filename: 20220609_134452.jpg

## Slide 340
SITE WALK REPORT
Site: Monticello
Seq: 48
Tag: 50100059114
Type: Light
Count: 3
Possible: Yes
Comments:
Filename: 20220609_134525.jpg

## Slide 341
SITE WALK REPORT
Site: Monticello
Seq: 49-55
Tag: X03/C-514/ANN, X03/C514/TM
Type: Panel Light
Count: 36
Possible: Yes
Comments:
Filename: 20220609_134620.jpg

## Slide 342
SITE WALK REPORT
Site: Monticello
Seq: 51
Tag: X03/C-514/TM
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220609_134642.jpg

## Slide 343
SITE WALK REPORT
Site: Monticello
Seq: 51
Tag: X03/26T
Type: Gauge
Count: 1
Possible: Yes
Comments: Qualitrol
Filename: 20220609_134708.jpg

## Slide 344
SITE WALK REPORT
Site: Monticello
Seq: 58 ?
Tag: X03/?? 1R Transformer Nitrogen Blanket Pressure
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_134946.jpg

## Slide 345
SITE WALK REPORT
Site: Monticello
Seq: 59
Tag: N2 Cylinder Press Gauge
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_134949.jpg

## Slide 346
SITE WALK REPORT
Site: Monticello
Seq: 60
Tag: X03/LTCX/71Q
Type: Gauge
Count: 3
Possible: Yes
Comments:
Filename: 20220609_135046.jpg

## Slide 347
SITE WALK REPORT
Site: Monticello
Seq: 61
Tag: 2R Transformer Gas Monitor
Type: Light
Count: 3
Possible: Yes
Comments:
Filename: 20220609_135208.jpg

## Slide 348
SITE WALK REPORT
Site: Monticello
Seq: 73
Tag: ?
Type: Gauge
Count: 3
Possible: Yes
Comments:
Filename: 20220609_135218.jpg

## Slide 349
SITE WALK REPORT
Site: Monticello
Seq: 81
Tag: LI-7260
Type: Light
Count: 3
Possible: Yes
Comments:
Filename: 20220609_135232.jpg

## Slide 350
SITE WALK REPORT
Site: Monticello
Seq: 62
Tag: X02/C-542/ANN
Type: Panel Label
Count: 36
Possible: Yes
Comments:
Filename: 20220609_135239.jpg

## Slide 351
SITE WALK REPORT
Site: Monticello
Seq:
Tag: X02/26T
Type: Gauge
Count: 1
Possible: Yes
Comments: Qualitrol
Filename: 20220609_135252.jpg

## Slide 352
SITE WALK REPORT
Site: Monticello
Seq: 85?
Tag:
Type: Light
Count: 3
Possible: Yes
Comments:
Filename: 20220609_135324.jpg

## Slide 353
SITE WALK REPORT
Site: Monticello
Seq:
Tag: XO2/V-INS-3
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_135342.jpg

## Slide 354
SITE WALK REPORT
Site: Monticello
Seq:
Tag: X02/PI-INS-1
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_135344.jpg

## Slide 355
SITE WALK REPORT
Site: Monticello
Seq:
Tag: X02/V-INS-3
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_135353.jpg

## Slide 356
SITE WALK REPORT
Site: Monticello
Seq: 44?
Tag:
Type: Gauge
Count: 3
Possible: Yes
Comments:
Filename: 20220609_135430.jpg

## Slide 357
SITE WALK REPORT
Site: Monticello
Seq: 80
Tag: LI-7259
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220609_135730.jpg

## Slide 358
SITE WALK REPORT
Site: Monticello
Seq: 81
Tag: LI-7260
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220609_135736.jpg

## Slide 359
SITE WALK REPORT
Site: Monticello
Seq: 83
Tag: PI-1526
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_135758.jpg

## Slide 360
SITE WALK REPORT
Site: Monticello
Seq: 84
Tag: PI-1525
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_135803.jpg

## Slide 361
SITE WALK REPORT
Site: Monticello
Seq: 94
Tag: Diesel Fire Pump Room Temperature
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220609_140223.jpg

## Slide 362
SITE WALK REPORT
Site: Monticello
Seq: 95
Tag: Circ Water Temperature
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_140223.jpg

## Slide 363
SITE WALK REPORT
Site: Monticello
Seq: 106
Tag: PI-7996-3
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_140710.jpg

## Slide 364
SITE WALK REPORT
Site: Monticello
Seq: 108
Tag: TI-7998-3
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_140741.jpg

## Slide 365
SITE WALK REPORT
Site: Monticello
Seq: 109
Tag: PI-7997-3A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_140756.jpg

## Slide 366
SITE WALK REPORT
Site: Monticello
Seq: 110
Tag: PI-7997-3B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_140806.jpg

## Slide 367
SITE WALK REPORT
Site: Monticello
Seq: 111
Tag: TI-7997-3
Type: Gauge
Count: 1
Possible: Yes
Comments: Tape Needle
Filename: 20220609_140811.jpg

## Slide 368
SITE WALK REPORT
Site: Monticello
Seq: 112
Tag: C-449
Type: Light
Count: 4
Possible: Yes
Comments:
Filename: 20220609_140835.jpg

## Slide 369
SITE WALK REPORT
Site: Monticello
Seq: 123
Tag: T-39G
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_141211.jpg

## Slide 370
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag: V-AC-28
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220609_141258.jpg

## Slide 371
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag: TIS-1447
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220609_141404.jpg

## Slide 372
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag:
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_141801.jpg

## Slide 373
SITE WALK REPORT
Site: Monticello
Seq: 342
Tag: DPIS-1926
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_144158.jpg

## Slide 374
SITE WALK REPORT
Site: Monticello
Seq: 344
Tag: FI-8000-J26
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_144247.jpg

## Slide 375
SITE WALK REPORT
Site: Monticello
Seq: 345
Tag: FI-8000-J25
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_144249.jpg

## Slide 376
SITE WALK REPORT
Site: Monticello
Seq:
Tag:
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_144541.jpg

## Slide 377
SITE WALK REPORT
Site: Monticello
Seq: 354
Tag: PI-7624B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_144642.jpg

## Slide 378
SITE WALK REPORT
Site: Monticello
Seq:
Tag: PI-7624A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_144658.jpg

## Slide 379
SITE WALK REPORT
Site: Monticello
Seq: 357
Tag: TI-7713
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_144711.jpg

## Slide 380
SITE WALK REPORT
Site: Monticello
Seq: 359
Tag:
Type: Thermometer
Count: 1
Possible: Yes
Comments: WHTM
Filename: 20220609_144754.jpg

## Slide 381
SITE WALK REPORT
Site: Monticello
Seq: 361
Tag: TS-7703
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220609_144838.jpg

## Slide 382
SITE WALK REPORT
Site: Monticello
Seq: 361
Tag: TS-7705
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220609_144840.jpg

## Slide 383
SITE WALK REPORT
Site: Monticello
Seq: 361
Tag: TS-7707
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220609_144843.jpg

## Slide 384
SITE WALK REPORT
Site: Monticello
Seq: 361
Tag: TS-7709
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220609_144850.jpg

## Slide 385
SITE WALK REPORT
Site: Monticello
Seq: 361
Tag: TS-7711
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145002.jpg

## Slide 386
SITE WALK REPORT
Site: Monticello
Seq: 362
Tag: TS-7714
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145020.jpg

## Slide 387
SITE WALK REPORT
Site: Monticello
Seq: 363
Tag: PI 7692B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145113.jpg

## Slide 388
SITE WALK REPORT
Site: Monticello
Seq: 365
Tag: PI 7693B
Type: Gauge
Count: 1
Possible: Yes
Comments: Tape Needle
Filename: 20220609_145133.jpg

## Slide 389
SITE WALK REPORT
Site: Monticello
Seq: 366
Tag: PI-7695B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145141.jpg

## Slide 390
SITE WALK REPORT
Site: Monticello
Seq: 368
Tag: TI-7728B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145211.jpg

## Slide 391
SITE WALK REPORT
Site: Monticello
Seq: 370
Tag: PI-7690B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145229.jpg

## Slide 392
SITE WALK REPORT
Site: Monticello
Seq: 371
Tag: PI-7692A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145253.jpg

## Slide 393
SITE WALK REPORT
Site: Monticello
Seq: 373
Tag: PI-7695A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145256.jpg

## Slide 394
SITE WALK REPORT
Site: Monticello
Seq: 372
Tag: PI-7693A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145258.jpg

## Slide 395
SITE WALK REPORT
Site: Monticello
Seq: 375
Tag: TI-7728A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145316.jpg

## Slide 396
SITE WALK REPORT
Site: Monticello
Seq: 377
Tag: PI-7690A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145327.jpg

## Slide 397
SITE WALK REPORT
Site: Monticello
Seq: 379
Tag: TS-7717
Type: Digit
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145353.jpg

## Slide 398
SITE WALK REPORT
Site: Monticello
Seq: 380
Tag: LIS-7584
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145419.jpg

## Slide 399
SITE WALK REPORT
Site: Monticello
Seq: 51
Tag: PI-7629B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145542.jpg

## Slide 400
SITE WALK REPORT
Site: Monticello
Seq: 387
Tag: PI-7686B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145552.jpg

## Slide 401
SITE WALK REPORT
Site: Monticello
Seq: 388
Tag: PI-7687B
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145557.jpg

## Slide 402
SITE WALK REPORT
Site: Monticello
Seq: 395
Tag: PI-7629A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145652.jpg

## Slide 403
SITE WALK REPORT
Site: Monticello
Seq: 393
Tag: PI-7687A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145706.jpg

## Slide 404
SITE WALK REPORT
Site: Monticello
Seq: 394
Tag: PI-7686A
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145708.jpg

## Slide 405
SITE WALK REPORT
Site: Monticello
Seq:
Tag:
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145745.jpg

## Slide 406
SITE WALK REPORT
Site: Monticello
Seq:
Tag: TS126A?
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_145750.jpg

## Slide 407
SITE WALK REPORT
Site: Monticello
Seq: ?
Tag: X8 TR
Type: Gauge
Count: 3
Possible: Yes
Comments:
Filename: 20220609_152645.jpg

## Slide 408
SITE WALK REPORT
Site: Monticello
Seq: X7 TR
Tag:
Type: Gauge
Count: 3
Possible: Yes
Comments:
Filename: 20220609_152735.jpg

## Slide 409
SITE WALK REPORT
Site: Monticello
Seq:
Tag: C102
Type: Light
Count: 8
Possible: Yes
Comments:
Filename: 20220609_152929.jpg

## Slide 410
SITE WALK REPORT
Site: Monticello
Seq: 180
Tag: C102
Type: Light
Count: 8
Possible: Yes
Comments:
Filename: 20220609_152937.jpg

## Slide 411
SITE WALK REPORT
Site: Monticello
Seq: 182
Tag: PI-1867
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_153050.jpg

## Slide 412
SITE WALK REPORT
Site: Monticello
Seq: 183
Tag: PI-3175
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_153102.jpg

## Slide 413
SITE WALK REPORT
Site: Monticello
Seq:
Tag: PI-1868
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_153131.jpg

## Slide 414
SITE WALK REPORT
Site: Monticello
Seq: 185
Tag: PI-3191
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_153144.jpg

## Slide 415
SITE WALK REPORT
Site: Monticello
Seq: 187
Tag: PI-108-1
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_153319.jpg

## Slide 416
SITE WALK REPORT
Site: Monticello
Seq: 188
Tag: PI-108
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_153326.jpg

## Slide 417
SITE WALK REPORT
Site: Monticello
Seq: 198
Tag: PI-107-5
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_153828.jpg

## Slide 418
SITE WALK REPORT
Site: Monticello
Seq: 201
Tag: FIS-1905
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_153959.jpg

## Slide 419
SITE WALK REPORT
Site: Monticello
Seq:
Tag: 0280828 ?
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_154131.jpg

## Slide 420
SITE WALK REPORT
Site: Monticello
Seq:
Tag:
Type: Gauge
Count: 1
Possible: Yes
Comments: Broken Gauge
Filename: 20220609_154144.jpg

## Slide 421
SITE WALK REPORT
Site: Monticello
Seq:
Tag: 2404206
Type: Gauge
Count: 4
Possible: Yes
Comments:
Filename: 20220609_154340.jpg

## Slide 422
SITE WALK REPORT
Site: Monticello
Seq:
Tag:
Type: Gauge
Count: 1
Possible: Yes
Comments:
Filename: 20220609_154451.jpg

## Slide 423
SITE WALK REPORT
Site: Monticello
Seq:
Tag:
Type: Gauge
Count: 2
Possible: Yes
Comments:
Filename: 20220609_154541.jpg